25. APEX FASCIA

[image: image1.jpg]


Tools needed (shown in icons): ladder, drill, hammer, screws, and nails.

Key points from the instructions:
Purpose: Apex and eave fascia are crucial for rainwater management and are highly visible cosmetic elements of the cabin structure.

Installation Guidelines:

· First line of apex fascia: Should be installed flush with the roof boards (at the same level)

· Second line of apex fascia: Should be raised approximately 2cm above the roof board level to properly direct rainwater toward the sides of the roof

Materials: Both apex and eave fascia boards are 110x19mm dimensions.

[image: image2.jpg]




[image: image3.jpg]



Apex fascia boards installation – 1. Apex fascia boards (110x19 mm); 2. Eave fascia boards (110x19 mm)








[image: image4.jpg]


[image: image5.jpg]


[image: image6.jpg]1. Apex fascia
(110x19 mm)

NN

4
2. Eave Fascia 1

.| Apex fascia




