29. FLOOR Assembly Instruction Guide

Tools Required

Before starting the floor installation, gather the following tools:

· Hammer - for knocking planks into position

· Hand saw - for cutting the final board to fit

· Chisel - for fine adjustments

· Screwdriver - for securing boards if needed

· Measuring tape - for accurate measurements

· Piece of log or wood block - to protect boards while hammering

[image: image1.jpg]


[image: image2.jpg]


 
Assembly Components & Specifications

The complete floor assembly consists of:

1. Floorboards 

· Thickness: 19mm or 28mm (depending on your choice)

· Widths available: 105mm 

· Length: 6-20mm shorter than wall-to-wall distance

2. Skirting boards 

· For finishing the edges where floor meets walls

3. Foundation beams 

· Height: 43mm

· Typical width: 70mm

· Supporting structure beneath floorboards

4. Expansion gaps 

· 3-10mm gaps required on both sides of walls

· Essential for proper installation and wood movement

5. Additional measurements 

· Board overhang: 40mm typical

· Wall-to-floor clearance: As specified by gap requirements

Pre-Installation Check

1. Ensure your cabin walls are properly constructed

2. Verify that floorboards are 6-20mm shorter than the distance between cabin walls

3. Check that foundation beams are level and properly positioned
Step-by-Step Installation Process

Step 1: Preparation

1. Open the cabin door for easy access

2. Start installation from the back of the cabin working toward the door

3. Have all tools and materials ready within reach

Step 2: Board Placement

1. Center the first board between the walls

2. Leave a 3-10mm gap on both sides between the floorboard and wall

3. This gap is essential for proper installation and allows for wood expansion

Step 3: Installing Boards

1. Place each floorboard in position

2. Use the hammer and piece of log to gently knock planks into place

3. The log piece protects the board from hammer damage

4. Ensure each board is properly seated and aligned

5. Continue this process row by row

Step 4: Final Board Adjustment

1. The last floorboard will likely need to be cut to fit

2. Measure the remaining space carefully

3. Use the hand saw to cut the final board to the correct width

4. Test fit before final installation

Important Tips

· Easy installation: If the cabin was built correctly, floor assembly should be straightforward and enjoyable

· Gap importance: Never skip the wall gaps - they're crucial for proper installation

· Work systematically: Start from the back and work toward the entrance

· Board protection: Always use a wood block when hammering to prevent damage

· Quality check: Ensure each board is properly seated before moving to the next

Safety Reminders

· Wear appropriate safety gear when using tools

· Keep the work area clean and free of obstacles

· Handle tools carefully to avoid injury

· Ensure proper ventilation when working inside the cabin

Troubleshooting

· Boards too tight: Check if gaps at walls are sufficient

· Boards won't fit: Verify measurements and that walls are properly constructed

· Uneven installation: Check that foundation beams are level

· Last board issues: Measure twice, cut once for the final piece

Following these instructions should result in a professional-quality floor installation that will serve your cabin well for years to come.

[image: image3.jpg]



[image: image4.jpg]


[image: image5.jpg]




Floor – 1. Floorboards (comes in 19/28 mm thickness, depending on your choice); 2. Skirting boards; 3. Foundation beams; 4. 3-10 mm gap must be left from both sides of the wall.








3

[image: image6.png]


[image: image7.png]| 2. Skirting
board
E 3. Foundation
| ‘ beam |
4.3-10 mm gap ‘

(both sides) | \W.\




