13. SINGLE AND DOUBLE DOORS
Tools Required

· Silicone sealant and application gun

· Electric drill with various drill bits

· Screws and screwdriver bits

· Level (bubble or laser)

· Measuring tape

· Pencil for marking

· Saw (for potential wall cutting)

· Safety equipment (goggles, gloves)

Before You Begin

· Always check the floor plan first to determine door opening direction

· Verify all components are present and undamaged

· Ensure wall logs are straight and properly aligned

· Confirm the base/foundation is level

SINGLE DOOR INSTALLATION

Step 1: Pre-Assembly Inspection

· Door Preparation: Single doors arrive fully pre-assembled

· Frame Check: Inspect the door frame for any damage during shipping

· Tolerance Verification: The frame includes built-in tolerance for wall log fitting

· Opening Direction: Confirm correct orientation using floor plan

Step 2: Wall Preparation

· Level Check: Ensure the doorsill area is absolutely level with the base

· Log Alignment: Verify that wall logs on both sides are straight

· Frame Batten Check: Ensure frame battens are properly aligned

Step 3: Special Considerations for Tall Doors

For 2096mm Height Doors:
· Cutting Requirements: May require cutting wall section above door frame

· Cut Specifications: Use drawings to identify cutting line

· Cut Depth: Precisely 65.5mm deep

· Safety: Use proper cutting tools and safety equipment

Step 4: Installation Process

1. Silicone Application: 

· Apply continuous bead of silicone sealant around door frame perimeter

· Ensure even coverage for weather sealing

2. Frame Positioning: 

· Carefully slide door frame into position

· Do not force - frame should fit smoothly due to built-in tolerance

· If resistance occurs, check log and batten alignment

3. Gap Management: 

· If frame doesn't fit around logs, carefully cut wall logs

· Maintain approximately 5mm gap between door and wall

· This gap allows for natural wood expansion/contraction

Step 5: Critical Installation Rules

⚠️ IMPORTANT - NEVER nail or screw door frames directly to walls 
· Wood expansion and contraction will damage the frame

· This will void warranty coverage

· Frame should be held in place by proper fit and wall log pressure

[image: image1.emf][image: image2.jpg]



DOUBLE DOOR INSTALLATION

Phase 1: Component Identification and Preparation

Step 1: Parts Inventory

Frame Components:
1. Door panels (2 pieces)

2. Side frames (2 pieces)

3. Top frame (1 piece)

4. Threshold (1 piece, initially placed in top frame)

5. Door/window decoration elements
6. Hardware (handles, fixing clippers, screws, pins)

Step 2: Pre-Assembly Examination

· Part Identification: Clearly identify each component before assembly

· Threshold Removal: Remove threshold from top frame packaging

· Drawing Reference: Study provided drawings to understand your specific door configuration

· Hardware Check: Verify all screws are present and in correct positions

Phase 2: Frame Assembly

Step 1: Initial Frame Construction

Assembly Sequence:
1. Start with corners: Begin with the furthest corners as shown in diagrams

2. First Connection: Attach top frame to one side frame

3. Second Connection: Connect threshold to the other side frame

4. Note: Screws are pre-positioned for easy assembly

Step 2: Complete Frame Assembly

1. Rectangle Formation: Screw both sub-assemblies together to form perfect rectangle

2. Measurement Verification: 

· Ensure distance between side frames is identical at top and bottom

· Use measuring tape to verify squareness

· Check diagonal measurements for perfect rectangle

Step 3: Frame Quality Control

· Square Check: Verify all corners are 90 degrees

· Stability Test: Ensure frame is rigid and doesn't flex

· Hardware Tightness: Confirm all screws are properly tightened

[image: image3.jpg]



Double door – 1. Door; 2. Side frames; 3. Top frame; 4. Threshold; 5. Door/window decoration elements; 6. Other parts (handles and ect.)
[image: image4.jpg]


 [image: image5.emf] 
[image: image6.emf]
[image: image7.jpg]—

L‘:—ﬁe———’J
—_—

|

2. Side frame 2. Side frame

q 3. Threshold

—_—





Frame screwing - Screw just threshold

[image: image9.png]



Door locking – 1. Fixing clippers[image: image8.png]



     CLOSED                              OPEN

 


Phase 3: Installation Timing and Storage

Critical Timing Rule

Door mounting must be the VERY LAST step in cabin assembly
Interim Storage Guidelines

If assembly spans multiple days:
· Outdoor Storage: Place finished door frame outside under open sky

· Reason: Ensures consistent weather exposure with rest of cabin

· Color Matching: Allows door to develop same sun-darkened tone as cabin walls

· Protection: Cover if rain is expected, but allow air circulation

Phase 4: Door Operation System

Understanding the Double Door Mechanism

Two-Part System:
· Primary Door: Opens with standard handle mechanism

· Secondary Door: Secured with fixing clippers (top and bottom)

Opening Procedure

Sequential Opening:
1. First: Open the door with the handle (primary door)

2. Second: Operate fixing clippers on secondary door: 

· Top Clipper: Lift lever UP

· Bottom Clipper: Push lever DOWN

3. Result: Both doors can now swing open

Closing Procedure

Reverse the opening sequence:
1. Close secondary door first

2. Engage fixing clippers (top down, bottom up)

3. Close primary door with handle
Phase 5: Final Adjustments and Hardware Installation

Hinge Adjustments

· Initial Positioning: Doors are fixed from above with hinges on outside

· Fine Tuning: Adjust by tightening or loosening hinge screws

· Alignment Check: Ensure doors hang properly and close evenly

Lock Installation Process

Pin Plate Installation:
1. Measurement Phase: 

· Close doors in final position

· Mark exact location where pins will contact frame

· Use pencil for precise marking

2. Drilling Phase: 

· Hole Size: Match drill bit to pin diameter

· Depth: Drill slightly deeper than pin length

· Precision: Ensure holes are perpendicular to frame

3. Installation Phase: 

· Pin Plate Mounting: Screw pin plates into drilled holes

· Alignment Verification: Test pin engagement multiple times

· Operation Check: Verify smooth clipper operation

Critical Maintenance Point

⚠️ ESSENTIAL ONGOING CHECK:
· Regular Inspection: Periodically check that lower door edge doesn't touch threshold when closing

· Warning Signs: Look for scraping marks, resistance when closing, or door binding

· Adjustment Method: Use hinge adjustments to correct any contact issues

· Warranty Impact: Door damage from threshold contact is NOT covered by warranty

· Prevention: This simple check prevents door warping and operational problems

Phase 6: Troubleshooting Common Issues

Frame Fit Problems

If frame doesn't fit easily:
· Check wall log straightness

· Verify foundation level

· Adjust log positioning before forcing frame

Door Alignment Issues

If doors don't close properly:
· Adjust hinges incrementally

· Check frame squareness

· Verify threshold level

Hardware Problems

If clippers don't engage smoothly:
· Recheck pin plate alignment

· Verify hole depth and diameter

· Ensure clipper mechanism moves freely



Safety and Warranty Considerations

Installation Safety

· Never use excessive force during any installation step

· Proper lifting techniques when handling heavy door assemblies

· Eye protection when drilling or cutting

· Secure work area to prevent accidents

Warranty Protection

· No direct fastening of frames to walls

· Proper threshold clearance maintenance

· Professional installation recommended for complex situations

· Follow all manufacturer specifications exactly

Long-term Maintenance

· Annual hinge lubrication
· Regular threshold clearance checks
· Weather seal inspection and replacement
· Hardware tightness verification


Final Installation Checklist

Before Completion

· All frame connections secure

· Doors operate smoothly

· Clippers engage and disengage properly

· No contact between door bottom and threshold

· Weather sealing complete

· All hardware properly tightened

Post-Installation

· Test full door operation cycle multiple times

· Verify lock security

· Check for any air leaks

· Document installation date for warranty purposes

· Schedule first maintenance check



Remember: Patience during installation prevents damage and ensures long-term door performance. When in doubt, consult the manufacturer or a professional installer.
WARNING – do not nail or screw the door and window frames to the walls, it might be damaged due to the wood expansion and contraction.





Door frame – 1. Top frame; 2. Side frame; 3. Threshold











Door locking – 1. Fixing clippers





Pin installation – 1. Pin plate; 2. Pin; 3. Drill a hole








3

