U-PROFILES

What are U-profiles?
· Cosmetic trim pieces that cover log ends or grooves

· Used to create a finished appearance on exposed wood surfaces

Specifications:
· Standard length: 3 meters

· Available for wall thicknesses: 44mm to 70mm

· Not available for "Twin skin 44+44mm" wall systems

Installation notes:
· May require cutting to fit specific applications

· Must leave a few millimeters gap on each side to accommodate natural wood movement (expansion and contraction)

Ordering:
· Not included by default in packages

· Must be specifically requested when placing an order

[image: image1.emf]
3

