11. WALL INSULATION


Note: This insulation section specifically applies only to "Twinskin" or double wall style cabins, not to single wall cabins.
What's Included vs. Not Included:
· Insulation beams are included (size varies based on wall gap)

· Insulation material is NOT included - you need to purchase this separately

Installation Details:
· Insulation beams are placed every 600mm in each wall by default

· All beams come at the same height, allowing the assembly crew to cut them to the needed height

· Screws should penetrate about 15mm into the wall log thickness

· Installation happens during wall assembly

[image: image1.png]



Twinskin wall insulation – 1. Insulation beam (included), size according wall gap; 2. Insulation material (not included).








